Checklist for CCO Rental Apartments

- Properly Completed CCO application with names of all tenants

- Copy of signed lease (lease must match tenants)

- Payment of initial inspection fee

- General Sanitation of apt.

-walls and ceilings freshly painted and free of mold and mildew

- lead paint certification if applicable

- refrigerator cleaned and operable

- stove/oven cleaned and properly installed

- toilet seats replaced

- vent fans and filters free of dirt and grease

5.  Potable water and waste lines

6.  Windows

- No cracks

- Operational

- Screens

- Window guards where applicable

7.  Electric

- 60 amp minimum service

- GFCI within 6 ft of sinks

- Receptacles and switches working properly (no paint)

- Covers on lights in closets

- Entrance properly lit

8.  Fire Protection

- Smoke detectors as per UFC (not older than 10 years)

- Carbon Monoxide detectors as per UFC (not older than 7                               years)

- Self closing and latching solid 1 ¾ inch entrance door if into

common area

- All holes or openings in walls and ceilings shall be properly

rated

Re-inspection fee of $25.00 shall be paid for required

re-inspection.